## Sheet1
Part # | Vendor | Description | QTY | Unit Price (USD) | Price (USD) | Comment
Camera
01-IRIS-15-PCIe-M-16-C | Photometrics | IRIS-15-PCIe sCMOS camera | 1 | 12350 | 12350 | FOV 25 mm diagonal
Detection: Filter wheel
5-slot filter wheel for 25-mm filters
ZWO EFW-MINI | ZWO | ZWO EFW Mini 5 x 31 mm | 1 | 200 | 200 | Check local distributors (astronomy shops)
25mmFilterAdapter.stl | 3D printed (SLS) | Adapter to hold 25 mm filters in 31 mm slots | 5 | 10 | 50 | See /custom-parts/detection-accessories for printable 3D model
SM2T2 | Thorlabs | SM2 (2.035"-40) Coupler, External Threads, 1/2" Long | 1 | 37 | 37 | SM2 coupler to rotate the filter wheel and fix it at desired angle the with retaining ring
TMA4 | Thorlabs | Adapter with External T-Mount to Internal SM2 | 2 | 24 | 48 | Adapters for both sides of the ZWO EFW Mini filter, which has T-mount threads (M42)
Detection: objectives and revolver
5-slot motorized turret + 5 objectives
378-726D | Mitutoyo | Bright field motorized revolver | 1 | 4655 | 4655 | The turret for Mitutoyo Plan Apo objectives
12AAA807D | Mitutoyo | RS-232C cable 2 m | 1 | 75 | 75 | accessory
378-089 | Mitutoyo | Parfocal adjustment shim set | 1 | 136 | 136 | accessory
MotorizedRevolver-SM2-adapter | Mechanical shop | Adapter between motorized revolver and Thorlabs SM2 tube | 1 | 100 | 100 | Machined from Alu, requires SM2 threads
SM2L10 | Thorlabs | 1" long SM2 tube | 1 | 26 | 26 | Adapter: Motorized revolver to filter wheel
378-801-12 | Mitutoyo | Objective M Plan APO 2X | 1 | 801 | 801
378-802-6 | Mitutoyo | Objective M Plan APO 5X | 1 | 718 | 718
378-807-3 | Mitutoyo | Objective M Plan APO 7.5X | 1 | 1391 | 1391
378-803-3 | Mitutoyo | Objective M Plan APO 10X | 1 | 883 | 883
378-847 | Mitutoyo | Mitutoyo G Plan APO 20X/t3,5 | 1 | 3670 | 3670
Detection: Tube lens and camera F-mount
36-401 | Edmund Optics | Mitutoyo MT-1 Accessory Tube Lens | 1 | 752 | 752 | Preferred choice for Mititoyo objectives, except the 2X/0.055 one. Ordered from Edmund for historical reasons, update part number to Mitutoyo
Adapter-MitutoyoMT1-SM2.stl | 3D printed | Adapter for SM2 lens tube, attached to SM2 retaining ring | 1 | 10 | 10
SM2E60 | Thorlabs | SM2 Series Extension Tube, 6" | 1 | 65 | 65 | Tube lens is inserted inside this tube
SM2M20 | Thorlabs | SM2 Lens Tube Without External Threads, 2" Thread Depth | 1 | 32 | 32 | Extends the SM2E60 and mounts to the SM2NFM2
SM2NFM2 | Thorlabs | Adapter with External SM2 Threads and Male F-Mount Ring | 1 | 112 | 112 | Adapter to camera with F-mount
Detection Assembly Mounting (on the rail carriage)
ThorlabsSM2L30-XT66P2M_H94mm(axis2base) | 3D printed | Rail carriage mount of the SM2 tube assembly | 2 | 10 | 20 | Bolted to the Newport CXL95 rail carriages (M6 bolts)
todo | todo | Camera-specific support structure | 1 | 50 | 50 | Supports the weight of the camera
|  |  |  | Total, USD | 26181